## Slide 1
Skin Recovery Device Training
FOR CADAVERIC USE ONLY

## Slide 2: Device Components

## Slide 3: Transportation Case
Keep this gray box, it will be used to return the unit after trial or for service.

## Slide 4: Complete Amalgatome MD System
Power Supply & Cord
Sterilization Tray
Hand Piece and Head Assembly
Screw Driver
Pin Driver

## Slide 5: Power Supply & Cord
Does not go into autoclave.

## Slide 6: Sterilization Tray

## Slide 7: Sterilization Tray
Ensure the blade locking ring is placed inside the tray with the screw heads facing upward.

## Slide 8: Sterilization Tray
Note: as the power cord is wrapped around the outside of the tray, make sure not to apply too much tension at the corners of the tray.

## Slide 9: Head Assembly
Depth Adjustment Knob
Housing Frame
Screw Hole
Blade Locking Ring w/ 3 Captive Screws
Depth Gauge Assembly
The head assembly is not to be disassembled.

## Slide 10: Hand Piece
Activation Button
Activation Lever
Handle
Locking Nut
Pinion
Locking Knob
Power Cord with Protective Cap

## Slide 11: Disposable Blades
Note: Always check the sterile blade package integrity and expiration dates before use.
Sterile, Single Use

## Slide 12: Disposable Blades
Please note: this is best practice for handling the blade.

## Slide 13: Disposable Blades
Please note: it is not safe to handle the blade anywhere on the inside of the blade as shown here.

## Slide 14: Operator & Circulator
Operator
Circulator
When the term "circulator" is used this refers to the technician who is not scrubbed in and is providing support within the recovery room.
When the term "sterile operator" is used this refers to the technician who has followed protocols for scrubbing, gowning and gloving and is practicing sterile technique.

## Slide 15: Need to get a hold of us?
Phone: 1-800-243-6049
Press the number below for the following departments:
1 – Sales & Clinical Support
2 – Marketing & Product Inquiries
  4 – Customer Service or to Report a Quality Concern
5 – Technical Services
6 – Quality Department
7 – Accounting Department
Website: www.exsurco.com
Emails:
Sales: sales@exsurco.com
Information: info@exsurco.com
Support: support@exsurco.com